## Quote (hidden)
| Building Width (m): | 6 |  |  | Price |  |  | 34280.172
| Building Depth (m): | 3 |  |  | Inc VAT |  |  | 41136.2064
| Wall height (m): | 2.5
| Ridge height above eaves (m): |  |  |  | EGP |  | 44.44% | 15235.632
| Canopy projection (m): | 0.3
[5 empty] | 1.8 |  | 19044.54
Section | Materials | Qty | UOM |  |  | Options |  |  |  | 8822.14
1. Shell | Floor panels | 18 | sqm | 35 | 630 |  | 630 | 1134 |  | 15879.852
| Edge trim | 18 | m | 5 | 90 |  | 90 | 162
| SIPS wall kit | 18 | sqm | 100 | 1800 |  | 1800 | 3240
| Roof panels | 20.74 | sqm | 47 | 974.78 |  | 974.78 | 1754.604 | Cladding Type | 47.7
| Roof flashings | 27 | 2.5m | 5 | 135 |  | 135 | 243 | Decking Type | 3
2. External cladding | Breather membrane | 54 | sqm | 0.5 | 27 |  | 27 | 48.6 | Door Type
| Battens | 129.6 | m | 0.6 | 77.76 |  | 77.76 | 139.968 | Door Construction
| Profiled steel sheets to rear | 16.5 | sqm | 8 | 132 |  | 132 | 237.6 | Door Width (maximum width is 1 metre less than the width of the building)
| Clear treated softwood shiplap | 47.7 | sqm | 32 | 1526.4 | 1 | 1526.4 | 2747.52 | Internal Lighting
| Thermowood | 47.7 | sqm | 56 | 2671.2 |  | 0 | 0 | No. Internal / External Sockets
| Ribbed composite | 47.7 | sqm | 50 | 2385 |  | 0 | 0 | Heating Type
| Western red Cedar | 47.7 | sqm | 80 | 3816 |  | 0 | 0 | External Lighting
| Millboard | 47.7 | sqm | 100 | 4770 |  | 0 | 0 | Internal Wall Finishes
| Oak beam façade | 14 | m | 200 | 2800 |  | 2800 | 5040 | Internal Floor Finish
| Cladding support | 18 | m | 5 | 90 |  | 90 | 162 | Internal Ceiling Finish
| Corner flashings | 4 | ea | 15 | 60 |  | 60 | 108 | No. 1500mm x 300mm Lozenge Window
3. Roofcover | Gutter | 7.2 | m | 2.5 | 18 |  | 18 | 32.4 | Internal Wall Construction with 1 door
| Gutter brackets | 7.2 | ea | 0.95 | 6.84 |  | 6.84 | 12.312
| Stop end | 1 | ea | 1.9 | 1.9 |  | 1.9 | 3.42 |  | Cost
| Stop end outlet | 1 | ea | 4.25 | 4.25 |  | 4.25 | 7.65 | Basic Timber French Door 1.8M with side glazing | 900
| Union | 2.4 | ea | 2.1 | 5.04 |  | 5.04 | 9.072 | Basic Sliding Door uPVC 2.3M | 1100
| Downpipe | 1 | ea | 6.67 | 6.67 |  | 6.67 | 12.006 | Basic Aluminium Bi-Fold 2.3M | 2250
| Downpipe brackets | 2 | ea | 0.9 | 1.8 |  | 1.8 | 3.24 | Single Pedestrian Door | 350
| Bends | 2 | ea | 3 | 6 |  | 6 | 10.8
| Shoe | 1 | ea | 3.1 | 3.1 |  | 3.1 | 5.58
4. Doors | Flush internal door | 1 | ea | 125 | 125 |  | 0 | 0
| Single steel door | 1 | ea | 350 | 350 |  | 0 | 0
| Double steel door | 1 | ea | 725 | 725 |  | 0 | 0
| Single UPVC door | 1 | ea | 560 | 560 |  | 0 | 0
| Double UPVC door | 1 | ea | 700 | 700 |  | 0 | 0
| Sliding UPVC door | 1 | ea | 1100 | 1100 | 1 | 1100 | 1980
| Single Aluminium door | 1 | ea | 1010 | 1010 |  | 0 | 0
| Double aluminium door | 1 | ea | 1500 | 1500 |  | 0 | 0
| Sliding aluminium door | 1 | ea | 1410 | 1410 |  | 0 | 0
| Bifold aluminium door 2.4m | 1 | ea | 2250 | 2250 | 1 | 2250 | 4050
| Bifold aluminium door 3.2m | 1 | ea | 3200 | 3200 |  | 0 | 0
| External trims | 7 | m | 5 | 35 |  | 35 | 63
5. Windows | UPVC fixed | 1 | ea | 165 | 165 |  | 0 | 0
| UPVC opening | 1 | ea | 215 | 215 | 1 | 215 | 387
| UPVC fanlight/fixed | 1 | ea | 250 | 250 |  | 0 | 0
| Aluminium fixed | 1 | ea | 185 | 185 |  | 0 | 0
| Aluminium opening | 1 | ea | 300 | 300 |  | 0 | 0
| Aluminium fanlight/fixed | 1 | ea | 325 | 325 |  | 0 | 0
| Skylight | 1 | ea | 650 | 650 |  | 0 | 0
| Upstand | 6 | m | 3 | 18 | 0 | 0 | 0
| Flashing | 6 | m | 10 | 60 | 0 | 0 | 0
6. Ceiling |  |  |  |  | 0 |  | 0 | 0
7. Interior walls | Battens | 90 | m | 0.6 | 54 |  | 54 | 97.2
| 11mm OSB to back wall | 5 | ea | 13 | 65 |  | 65 | 117
| Melamine boards | 15 | ea | 36 | 540 |  | 540 | 972
| Slatwall | 10 | ea | 35 | 350 |  | 0 | 0
| Oak trims | 81 | m | 5 | 405 |  | 405 | 729
8. Flooring | LVT boards | 18 | sqm | 45 | 810 |  | 810 | 1458
| Skirting |  | m | inc |  |  | 0 | 0
9. Decorating | Interior | 65.7 | sqm | 18 | 1182.6 |  | 0 | 0
| Exterior | 47.7 | sqm | 18 | 858.6 |  | 0 | 0
10. Electrics | Basic package | 1 | ea | 900 | 900 | 1 | 900 | 1620
| Uplights | 1 | ea |  | 0 |  | 0 | 0
| Soffit downlights | 1 | ea |  | 0 |  | 0 | 0
| Double sockets | 1 | ea |  | 0 |  | 0 | 0
| External socket | 1 | ea | 55 | 55 |  | 0 | 0
| PIR sensor | 1 | ea | 45 | 45 |  | 0 | 0
| Electric heater 1.5kW | 1 | ea | 100 | 100 | 1 | 100 | 180
| Aircon unit | 1 | ea | 1500 | 1500 |  | 0 | 0
| Ceiling fan | 1 | ea | 25 | 25 |  | 0 | 0
11. Plumbing | Plastic pipework | 1 | ea | 100 | 100 |  | 0 | 0
| Waste pipework | 1 | ea | 100 | 100 |  | 0 | 0
| WC | 1 | ea | 150 | 150 |  | 0 | 0
| Pedestal basin | 1 | ea | 100 | 100 |  | 0 | 0
| Taps & waste | 1 | ea | 100 | 100 |  | 0 | 0
| Electric shower | 1 | ea | 150 | 150 |  | 0 | 0
| Shower tray | 1 | ea | 250 | 250 |  | 0 | 0
| Shower enclosure | 1 | ea | 250 | 250 |  | 0 | 0
| Water heater | 1 | ea | 300 | 300 |  | 0 | 0
12. Foundations | Groundscrews | 18 | sqm | 90 | 1620 | 1 | 1620 | 2916
13. Decking | Timber frame | 18 | m | 3 | 54 |  | 54 | 97.2
| Decking boards | 3 | sqm | 100 | 300 |  | 300 | 540
| Fascia boards | 6 | m | 25 | 150 |  | 150 | 270
20. Manufacture | Labour |  | MDs | 250 | 0 |  | 0 | 0
21. Installation | Delivery | 1 | ea | 300 | 300 |  | 300 | 540
| Erect shell | 2 | MDs | 250 | 500 |  | 500 | 900
| Fenestration, cladding | 2 | MDs | 250 | 500 |  | 500 | 900
| Interior surfaces | 2 | MDs | 250 | 500 |  | 500 | 900
| Snagging | 1 | MDs | 250 | 250 |  | 250 | 450
| Floor area | 18 | sqm
| Roof area | 20.74 | sqm
| Ext wall area | 47.7 | sqm
| Perimeter | 18 | m

## Configurator
Cost Price
The Salute Configurator
Width (metres) |  | 6
Depth (metres) |  | 3
| Baseline Price | 15879.852 | 8822.14
Cladding Type | Thermowood | 3005.1 | 1669.5 | [5 empty] | Timber Bi-Fold Check | Timber Sliding Check | uPVC Bi-Fold Check | All Check
Feature Façade | Oak | 5040 | 2800
Decking Type | Composite | 351 | 195 | 6 | 7 | 8 | 9 | 10 | 0 | 0 | 0 | 0
Door Type | Bi-Fold Door |  |  | Aluminium |  |  | uPVC | [5 empty] | 3600 | 2000
Door Construction | Aluminium | 0 |  | French | Sliding | Bi-Fold | French | Sliding | max door width |  | Metres over standard size
Door Width (maximum width is 1 metre less than the width of the building) | 3.6 | 3845.4 | 2537.964 | 4109.4 | 6448.5 | 3845.4 | 2521.8 | 2134 | 5.5 |  | 1.6
Internal Lighting | Wall lights | 9000 | 180
No. Electrical Sockets | 3 | 450 | 300
Heating Type | 1.5kW Electric Heater | 180 | 100
External Lighting | Low-level lights to side of building | 850 | 850
Internal Wall Finishes | Textured Melomine Sheet with joint trims | 1502.55 | 834.75
Internal Floor Finish | Luxury Vinyl Tile | 972 | 540
Internal Ceiling Finish | Textured Melomine Sheet with joint trims | 567 | 315
Extra Window/Door |  | 0 | 0
Extra Window/Door |  | 0 | 0
Extra Window/Door |  | 0 | 0
Extra Window/Door |  | 0 | 0
Linear Metres Internal Wall Construction with 1 door |  | 0 | 0
Total Price | Total Price (exc VAT) | 41642.902
| Guide Price (inc VAT) | 49971.4824
0
Ambassador Projects ¦ The Old Mill ¦ Sheardley Lane ¦ Droxford ¦ Hampshire ¦ SO32 3QY
www.ambassador-projects.com ¦ sales@ambassador-projects.com ¦ T: 0333 3449577

## Optional Extras (hidden)
Unit
Wall Cladding Options | Clear treated softwood shiplap | M2 | 28 | 50.4 | 1.8
| Thermowood | M2 | 35 | 63 | 1.8
| Ribbed composite | M2 | 70 | 126 | 1.8
| Western red Cedar | M2 | 80 | 144 | 1.8
| Millboard | M2 | 120 | 216 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
Decking Options | Millboard | M2 | 120 | 216 | 1.8
| Composite | M2 | 65 | 117 | 1.8
| Timber Slats | M2 | 60 | 108 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
[5 empty] | 1.8 | Aluminium |  |  | uPVC
[5 empty] | 1.8 | French | Sliding | Bi-Fold | French | Sliding
Door Widths | 2 |  | 0 | 0 | 1.8 | 2309.4 | 2997 | 2725.2 | 1216.8 | 1247.4
| 2.2 |  | 60 | 108 | 1.8 | 2462.4 | 3185.1 | 2831.4 | 1391.8 | 1312.2
| 2.4 |  | 120 | 216 | 1.8 | 2615.4 | 3373.2 | 2932.2 | 1566.8 | 1418.4
| 2.6 |  | 180 | 324 | 1.8 | 2919.6 | 3573.2 | 2510 | 1827 | 1668.4
| 2.8 |  | 240 | 432 | 1.8 | 3223.8 | 3773.2 | 2610 | 2027 | 1918.4
| 3 |  | 300 | 540 | 1.8 | 3832.2 | 4197.6 | 3245.4 | 2203.2 | 2208.6
| 3.2 |  | 360 | 648 | 1.8 | 3929.4 | 4100 | 3445.4 | 2273.4 | 1896
| 3.4 |  | 420 | 756 | 1.8 | 4012.2 | 4400 | 3645.4 | 2345.4 | 2034
| 3.6 |  | 2480 | 4464 | 1.8 | 4109.4 | 6448.5 | 3845.4 | 2521.8 | 2134
| 3.8 |  | 2540 | 4572 | 1.8 | max size 3.6M | 5900 | 4045.4 | max size 3.6M | 2234
| 4 |  | 2600 | 4680 | 1.8 | max size 3.6M | 7947 | 4633.2 | max size 3.6M | 2334
| 4.2 |  | 2660 | 4788 | 1.8 | max size 3.6M | 8147 | 3950 | max size 3.6M | 2785.2
| 4.4 |  | 2720 | 4896 | 1.8 | max size 3.6M | 8347 | 4865.4 | max size 3.6M | 3236.4
| 4.6 |  | 2780 | 5004 | 1.8 | max size 3.6M | 8548.2 | 5015.4 | max size 3.6M | 3386.4
| 4.8 |  | 2840 | 5112 | 1.8 | max size 3.6M | max size 4.5M | 5165.4 | max size 3.6M | 3536.4
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
Internal Wall Finish Options | Textured Melomine Sheet with joint trims | ea | 17.5 | 31.5 | 1.8
| Timber Slat Accoustic Panelling | ea | 12 | 21.6 | 1.8
| Plaster & Decorated finish with 75mm bullnose skirting | M2 | 50 | 90 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
| Recessed Halo Lighting | M | 50 | 1500 | 1.8
| Wall lights | M | 10 | 500 | 1.8
| Track Lighting with feature spotlights |  |  | 3000 | 1.8
| T-Section Track with 3 spotlights |  |  | 0 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
Heating Options | 1.5kW Electric Heater | ea | 100 | 180 | 1.8
| Air-Conditioning | ea | 1500 | 2700 | 1.8
| Electric Underfloor Heating | eA |  | 1300 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
Extra Window/Door Options | Single Pedestrian Door uPVC | ea | 560 | 1008 | 1.8
| Single Pedestrian Door Aluminium | ea | 1010 | 1818 | 1.8
| Single Pedestrian Door softwood | ea | 300 | 540 | 1.8
| Opening Lozenge Window uPVC | ea | 250 | 450 | 1.8
| Opening Lozenge Window Aluminium | ea | 300 | 540 | 1.8
| Opening Lozenge Window softwood | ea | 250 | 450 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
Width Options | 2.5 |  |  |  | 1.8
| 3 |  |  |  | 1.8
| 3.5 |  |  |  | 1.8
| 4 |  |  |  | 1.8
| 4.5 |  |  |  | 1.8
| 5 |  |  |  | 1.8
| 5.5 |  |  |  | 1.8
| 6 |  |  |  | 1.8
| 6.5 |  |  |  | 1.8
| 7 |  |  |  | 1.8
| 7.5 |  |  |  | 1.8
| 8 |  |  |  | 1.8
| 8.5 |  |  |  | 1.8
| 9 |  |  |  | 1.8
| 9.5 |  |  |  | 1.8
| 10 |  |  |  | 1.8
Depth Options | 2.5 |  |  |  | 1.8
| 3 |  |  |  | 1.8
| 3.5 |  |  |  | 1.8
| 4 |  |  |  | 1.8
1.8
1.8
Door Type | French Doors | 2.4 | 1000 | 1800 | 1.8
| Sliding Door | 2.4 | 1500 | 2700 | 1.8
| Bi-Fold Door | 2.4 | 2000 | 3600 | 1.8
|  |  |  | 0 | 1.8
Door Construction |  |  |  |  | 1.8
| uPVC | 1 | 100 | 0% | 1.8
| Aluminium | 1 | 200 | 100% | 1.8
External Lighting | Wall light either side of the door | 1 | 200 | 360 | 1.8
| Soffit lights in porch with PIR sensor | 1 | 400 | 720 | 1.8
| Low-level lights to side of building | 1 | 850 | 850 | 1.8
1.8
1.8
Internal Floor Finish Options | Laminate Flooring | M2 | 45 | 81 | 1.8
| Engineered Oak | M2 | 70 | 126 | 1.8
| Luxury Vinyl Tile | M2 | 30 | 54 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
Internal Ceiling Finish Options | White Plastisol Coated Metal sheet |  | 0 | 0 | 1.8
| Textured Melomine Sheet with joint trims | ea | 12 | 21.6 | 1.8
| Plastered & Decorated |  | 50 | 90 | 1.8
1.8
1.8
1.8
1.8
Feature Façade |  |  |  |  | 1.8
| Oak |  | 200 | 360 | 1.8
| Metal Flashing |  | 20 | 36 | 1.8
|  |  | 0 | 0 | 1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8
1.8

## Doors (hidden)
|  |  | uPVC | Aluminium |  | uPVC | Aluminium
French Doors |  | 1900 | 811 | 1539 |  | 676 | 1283
| with sidelight | 2500 | 1218 | 1743 |  | 1015 | 1453 | 6 | 1463
|  | 2600 | 1240 | 1776 |  | 1033 | 1480 |  | 1453 | £20 per 100mm increase in width
|  | 3000 | 1224 | 2555 |  | 1020 | 2129 | 11 | 1006
|  | 3200 | 1263 | 2619 |  | 1053 | 2183 | 2 | 1080
|  | 3400 | 1303 | 2675 |  | 1086 | 2229 | 2 | 2243
|  | 3600 | 1401 | 2739 |  | 1168 | 2283 | 2 | 2289
Bi-Fold |  | 2000 |  | 1817 |  | 0 | 1514 |  | 2283
|  | 2200 |  | 1887 |  | 0 | 1573 | 2 | 1574 | £30 per 100mm increase in width
|  | 2500 |  | 1955 |  | 0 | 1629 | 3 | 1663
|  | 3000 |  | 2163 | 3 sections | 0 | 1803 | 5 | 1779
|  | 4000 |  | 3089 |  | 0 | 2574 | 10 | 2103
|  | 4500 |  | 3243 |  | 0 | 2703 | 5 | 2724
|  | 5000 |  | 3436 | 5 sections | 0 | 2863 | 5 | 2853
|  | 6000 |  | 3954 | 6 sections | 0 | 3295 | 10 | 3163
|  | 6200 |  | 4018 |  | 0 | 3348 | 2 | 3355
|  | 6400 |  | 4080 |  | 0 | 3400 | 2 | 3408
Sliding Door |  | 2000 | 832 |  |  | 693 | 1665
|  | 2200 | 875 |  |  | 729 |  | 2 | 1725
|  | 2500 | 945 |  |  | 788 | 1874
|  | 3000 | 1472 |  |  | 1227 | 2332
|  | 4000 | 1431 |  |  | 1193 | 4415
|  | 4500 | 2158 |  |  | 1798 | 4749
|  | 5000 | 1900 |  |  | 1583
|  | 6000 | 3025 |  |  | 2521
|  | 6200 |  |  |  | 0
|  | 6400 |  |  |  | 0